VERMILION BUILDING DEPARTMENT

PLAN SUBMISSION CHECKLIST

2017 Ohio Building Code

ADDRESS:____________________________________________________DATE:________________________

BUSINESS:_________________________________________________________________________________________

SUBMITTER MUST COMPLETE THIS CHECKLIST. Verify submission of each item listed below by checking it off.

A.  FOOTING/FOUNDATION/SHELL for a NEW BUILDING or ADDITION

1._____Five sets of plans, in accordance with Section 106 of the O.B.C., DRAWN TO SCALE, bearing the signature of the author.

2._____"Application for Certificate of Plan Approval" is COMPLETELY and ACCURATELY filled out.

3._____The site plan includes ALL of the following:

a._____Property lines with dimensions

b._____Streets, alleys, easements, water courses, curb cuts, driveways, and sidewalks

c._____Detailed parking plans (space dimensions, aisle widths, "van accessible" and other handicap

spaces, proposed and existing spaces, surface material, and angle of spaces).  Indicate type and location of buffering/screening.

d._____Locations and sizes of all utility lines including the locations of the two closest fire hydrants to

the proposed construction.  Show the precise distance from each hydrant to the nearest driveway serving the proposed building/addition.

e._____Locations and dimensions of proposed buildings and all existing buildings

f._____Setback and side yard distances between buildings

g._____Proposed grading and drainage plan

h._____Proposed watermain and sanitary sewer extension

4._____Construction drawings include ALL of the following:

a._____Footing and foundation details, cross sections, wall sections as may be required to describe the

general building construction (include locations of fire walls).

b._____All elevations necessary to completely describe the exterior of the building including floor to

floor dimensions and the total building height.

c._____First floor plan

B.  CHANGE OF USE or OCCUPANCY or construction of a NEW BUILDING or ADDITION

1._____Same as A1-A3 above

2._____The construction drawings shall comply with Section 106 of the O.B.C.

a._____Index

b._____Floor Plans, including plans of full or partial basements or cellars and full or partial attics or

penthouses.  Floor plans must show all relevant information, such as door swings, stairs, ramps,

windows, shafts, etc. and must be sufficiently dimensioned to describe all relevant space sizes.

Wall materials must be described by crosshatching (with explanatory key), by notation, or by

other clearly understandable method.  Spaces must be identified by code appellation, i.e. an

"auditorium" may not be identified as "meeting room" if it's size and function dictates it is an

auditorium.

c._____All elevations necessary to completely describe the exterior of the building including floor to

floor dimensions.

d._____Cross sections, wall sections and detail sections, to scale, as may be required to describe the

general building construction; including wall, ceiling, floor and roof materials and construction,

and details which may be necessary to describe typical connections, etc.

e._____Complete structural description of the building on the above drawings or on separate drawings,

including size and location of all principal structural elements and a table of live loads used in the

design of the building and computations, stress diagrams and other data sufficient to show

correctness of plans

continued

f._____Complete description of the mechanical and electrical systems of the buildings on the above

drawings or on separate drawings, including plumbing schematics and principal plumbing,

heating, ventilation and air conditioning duct and piping layouts and lighting and power

equipment layouts.  The plumbing drawings shall include a floor plan showing the layout of

fixtures, isometric drawings of drainage, waste, and vent lines, a schematic drawing of water lines

and an indication of backflow protections.

g._____Plans, specifications and/or shop drawings for the installation of fire protection systems shall be

submitted to indicate conformance with the O.B.C. and shall be reviewed by the Department

prior to the issuance of the permit.

h._____Location and size of all existing and proposed water services

i._____Type of backflow device on existing water services

j._____Location and rating of fire extinguishers

k._____Existing and proposed water meter size

l._____Oil and grease trap information

m.____Industrial inspection manhole location

n.____Additional graphic or text information as may be reasonably required by the Building Official to

review special extraordinary construction methods or equipment.

C.  ALTERATION of an EXISTING BUILDING, NOT INVOLVING A CHANGE OF USE or OCCUPANCY

1._____Four sets of plans

2._____"Application for Certificate of Plan Approval" is COMPLETELY AND ACCURATELY filled out.

3._____Same as B2 except elevation drawing is not required unless the alteration involves the exterior.

D.  SPECIAL PROVISIONS

The following are special provisions:

1. When construction includes the use of industrialized units or alternative materials, designs and methods

of construction or equipment approved by the Board, documentation shall be provided to the Building

Official describing how they are to be used.  A copy of the construction documents approved by the

Board and details pertaining to on-site interconnection of modules or assemblies must be submitted before

these items are installed in accordance with Section 3109.1.2 of the O.B.C., or used.

2. Construction documents submitted that include construction of public swimming pools shall include

documentation indicating approval of the pool construction documents by the Ohio Department of Health in

accordance with Section 3109.1.1 of the O.B.C.

3. Construction documents submitted that include alterations or construction of, or additions to buildings where

sales, displays, storage or manufacture of consumer fireworks, 1.4g or display fireworks, or 1.3g fireworks shall

include documentation indicating that the applicant has received preliminary approval for construction issued by

the Ohio Fire Marshall.

4. The elevation certificate and the dry floodproofing certificate, when required as per Section 1612.5 of the

O.B.C. for buildings or structures located in identified flood hazard areas, shall be submitted to the Building

Official.  These certificates shall be prepared by a registered engineer.

Note:_____If the construction project involves the installation of an automatic fire suppression system, fire alarm system,

smoke control system, or other specially designed fire protection system five sets of construction documents,

prepared by a registered design professional, are required and must be submitted under separate application.

All information required herein has been submitted as required.

Submitter's Signature:_____________________________________________________________________

Print Name:_____________________________________________________________________________

Title:___________________________________________________________________________________

Vermilion Building Department

5511 Liberty Ave.

Vermilion, OH  44089

Phone (440)204-2410  Fax (440)204-2411

VERMILION BUILDING DEPARTMENT

5511 LIBERTY AVE.

VERMILION, OHIO  44089

PHONE #440-204-2410    FAX #440-204-2411

APPLICATION FOR CERTIFICATE OF PLAN APPROVAL

FOR PLANS PREPARED UNDER THE 2017 O.B.C.

SUBMIT ONE APPLICATION FOR EACH BUILDING OR STRUCTURE

PLEASE PRINT OR TYPE

1. Building Owner's Name:____________________________        2.Contractor:__________________________________

Company Name:__________________________________            Address:____________________________________

Mailing Address:__________________________________	          City,State,Zip:________________________________

City, State, Zip:___________________________________	          Phone:________________ Fax:__________________

Phone:__________________ Fax:____________________            License/Registration #:_________________________

3. Business Owner's Name:____________________________       4. Author of Plans:______________________________

Mailing Address:__________________________________           Address:____________________________________

City, State, Zip:___________________________________           City, State, Zip:_______________________________

Phone:____________________ Fax:__________________            Phone:________________ Fax:__________________

5. PROJECT Address:_________________________________________________________________________________

Intended Use (Church, Store, Restaurant, etc.):___________________________________________________________

Description of Work:________________________________________________________________________________

_________________________________________________________________________________________________

6. A. Type Of Project:  (Check One)

New________    Addition________    Alteration________    Change of Use________    Section 3410________

(Moved Structures)

Industrialized Unit?  Yes_________  No__________

B. Dimensions and Square Footage:

New Building                    Addition                    Alteration                    Existing Building

Basement             _____________              ______________        ____________             ______________

First Floor           _____________              ______________        ____________             ______________

Second Floor      ______________            _______________       ____________            ______________

Third Floor         ______________            _______________       ____________            ______________

Additional Floor  ______________            _______________       ____________           _______________

Total Sq. Ft.        _______________           _______________       ____________           _______________

PROJECT ADDRESS:_________________________________

C. Existing Building Information:

Walls:  Masonry________    Metal________    Wood Frame________    Other (Specify)_____________________

Roof:  Wood Frame________    All Metal________    Reinforced Concrete________    Heavy Timber__________

Other (Specify)__________________________________________________________________________

Floors:  Wood on Wood Joists________    Concrete on Steel Joists________    Reinforced Concrete____________

Slab on Grade________    Other (Specify)___________________________________________________

Ceilings:  Exposed Steel Joists________    Exposed Wood Joists________    Plaster on Lathe_________________

Regular Drywall________    Fire-Rated Drywall________    Other (Specify)______________________

D. Change of Use:  Existing or Previous Use_____________________________________________________________

Proposed Use______________________________________________________________________

7.  Type of Construction (Chapter 6, O.B.C.)

1A_______   1B_______   2A_______   2B_______   3A_______   3B_______   4_______   5A_______   5B_______

8.  Proposed Use Group (Chapter 3, O.B.C.)

A.  Assembly (303.1) A-1______   A-2______   A-3______   A-4______   A-5______           Business (304.1) B______

Education (305.1) E______       Factory: F-1 (306.2)______  F-2 (306.3)______       High Hazard: H-1 (307.3)______

H-2 (307.4)______  H-3 (307.5)______  H-4 (307.6)______  H-5 (307.7)______      Institutional:  I-1 (308.3)______

I-2 (308.4)______   I-3 (308.5)______   I-4 (308.6)______           Mercantile (309.1) M______     Residential (310.1):

R-1_____  R-2_____  R-3_____  R-4_____   Storage:  S-1 (311.2)_____  S-2 (311.3)_____  Utility (312.1) _____

Mixed Use:  Nonseparated______;  Separated by Fire Separation Walls______;  Separated by Fire Walls______

B. If building is Use Group S, are materials to be stored:  Combustible________________; Noncombustible_________

C. If building is Use Group R-1, R-2, R-3 or R-4, specify the number of apartments or units:_______________________

D. If building is Use Group I-2, specify number of beds:____________________________________________________

9. Maximum Occupant Load (Table 1004.1.2, O.B.C.):_______________________________________________________

10. List all major subcontractors (Separate applications and fees may be required)

Electrical__________________________________               HVAC_____________________________________

Plumbing__________________________________                Fire Alarm_________________________________

Sprinkler System____________________________               Other______________________________________

11. Estimated Cost of Construction (This estimate shall include heating, plumbing, electrical, fire suppression, fire alarm

and all labor and material costs associated with the project):

$________________________________________

___________________________________________		___________________________

Owner or Authorized Agent						Date

PROJECT ADDRESS:_________________________

Office Use Only-Do Not Write Below This Line

**********************************************************************

The following departments have received a copy of this application and one set of plans:

City Engineer Department				     	Fire Department

Date Submitted-___________________			      Date Submitted-__________________

__________________________________________________________________________________

1st SUBMISSION

OBC:  Date-______________  Plan Examiner-_______________________________________

Approved________;  Approved with Contingencies________;  Resubmit________

ZONING:  Date-__________  Plan Examiner-_______________________________________

Approved________;  Approved with Contingencies________;  Resubmit________

FIRE DEPT:  Date-________   Plan Examiner-______________________________________

Approved________;  Approved with Contingencies________;  Resubmit________

ENGINEERING:  Date-________  Plan Examiner-___________________________________

Approved________;  Approved with Contingencies________;  Resubmit________

2nd SUBMISSION

OBC:  Date-_____________  Plan Examiner-________________________________________

Approved________;  Approved with Contingencies________;  Resubmit________

ZONING:  Date-__________  Plan Examiner-_______________________________________

Approved________;  Approved with Contingencies________;  Resubmit________

FIRE DEPT:  Date-________  Plan Examiner-_______________________________________

Approved________;  Approved with Contingencies________;  Resubmit________

ENGINEERING:  Date-________  Plan Examiner-___________________________________

Approved________;  Approved with Contingencies________;  Resubmit________

Additional Comments:________________________________________________________________

__________________________________________________________________________________